|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | **AMAN PROJECT PRE-REQUISITE** | | | | Date:14-04-2019 | |
|  | |  | Pre-requisite availability | | | | | |
|  | |  | SITE DETAILS | | | | | |
| **Description** | | **Yes** | **No** |  |  | **Description** | |  |
| Power 220V Available | | x | ✓ |  |  | Project Name | | ratha |
| Fire Alarm Signal Available | | x | ✓ |  |  | Plot Number | | A block 35 |
| Fire Alarm Reset Signal | | ✓ | x |  |  | Location | | Sharjah |
| Fire Alarm Fault Signal | | x | ✓ |  |  | Latitude | | 25.3463° N |
| Tamper Signal | | x | ✓ |  |  | Longitude | | 55.4209° E |
| Fire Pump Power Signal | | x | ✓ |  |  | SIM Card Number | | 123456789 |
| Fire Pump Fault Signal | | x | ✓ |  |  | Telephone line Number | | 9895632147 |
| SIM Card Available | | x | ✓ |  |  | Site Contact person | | abdhul |
| Telephone Line Available (if needed) | | x | ✓ |  |  | Site Contact Number | | 9586741234 |
| FA Company Representative Available | | x | ✓ |  | | Fire Alarm Contact Details | | 9563287413 |