|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | **AMAN PROJECT PRE-REQUISITE** | | | | | Date:12-05-2019 |
| Pre-requisite availability | | | | | | |
| SITE DETAILS | | | | | | |
| **Description** | | **Yes** | **No** | **Description** |  | |
| Power 220V Available | | ✓ | x | Project Name | sri | |
| Fire Alarm Signal Available | | ✓ | x | Plot Number | undefined | |
| Fire Alarm Reset Signal | | ✓ | x | Location | undefined | |
| Fire Alarm Fault Signal | | ✓ | x | Latitude | 23.4241° N | |
| Tamper Signal | | ✓ | x | Longitude | 53.8478° E | |
| Fire Pump Power Signal | | ✓ | x | SIM Card Number | undefined | |
| Fire Pump Fault Signal | | ✓ | x | Telephone line Number | 9895632147 | |
| SIM Card Available | | ✓ | x | Site Contact person | undefined | |
| Telephone Line Available (if needed) | | ✓ | x | Site Contact Number | undefined | |
| FA Company Representative Available | | ✓ | x | Fire Alarm Contact Details | undefined | |